## ExistingInfra
District | Bishnupur |  |  |  | Existing Infrastructure
Block | Moirang | [16 empty] | Bishnupur | Moirang
Village Details |  |  |  |  | 11 KV / LT Lines |  |  |  |  | Distribution Transformers |  | Existing Loading in KW
SlNO | Village | Census Code | Habitation Name | Habitation Code | Existing 11 KV Lines (kms) | Existing 1 Phase LT Overhead lines (kms) | Existing 3 Phase LT Overhead lines (kms) | Existing 1 Phase LT AB Cable (in Kms) | Existing 3 Phase LT AB Cable (in Kms) | Nos of DTRs | KVA rating | Domestic | Agriculture | Industries | Public Places | Others (if any) | Total
1 | Thamnapokpi | 269896 | Thamnapokpi |  | 0.2 | 0.5 | 0 | 1.1 | 4 | 3 | 300 | 150 | 0 | 0 | 0 | 10 | 160
2 | Thamnapokpi | 269896 | ThamnapokpiMamang |  | 0.5 | 2.6 | 0 | 0 | 0 | 1 | 16 | 12 | 0 | 0 | 0 | 0 | 12
3 | Ngangkha Lawai | 269897 | NAME
4 | Ngangkha Lawai | 269897 | NgangkhaLawai |  | 1.2 | 0.6 | 0 | 0.5 | 3.4 | 4 | 475 | 130 | 0 | 0 | 0 | 15 | 145
5 | Ngangkha Lawai | 269897 | NgangkhaLawaiAwang |  | 0.6 | 0.4 | 0 | 0.5 | 2.5 | 2 | 163 | 54 | 0 | 0 | 0 | 6 | 60
6 | Kwakta (Pt) | 269898 | Kwakta |  | 2 | 1 | 0 | 6 | 6.9 | 5 | 275 | 115 | 0 | 0 | 0 | 8 | 123
7 | Kwakta (Pt) | 269898 | KwaktaAwang |  | 0.8 | 1.7 | 0 | 6 | 10.2 | 2 | 488 | 204 | 0 | 0 | 0 | 8 | 212
8 | Kwakta (Pt) | 269898 | KwaktaKha |  | 0.5 | 0.3 | 0 | 3.5 | 1 | 1 | 100 | 59 | 0 | 0 | 0 | 0 | 59
9 | Kwakta (Pt) | 269898 | KwaktaMoirangTurenbanMeitei |  | 0.2 | 0.7 | 0 | 2 | 2.2 | 2 | 126 | 42 | 0 | 0 | 0 | 8 | 50
10 | Kwakta (Pt) | 269898 | KwaktaSanthongMeiteileikai |  | 0.9 | 0.5 | 0 | 2 | 2.2 | 4 | 175 | 52 | 0 | 0 | 0 | 8 | 60
11 | Kwakta (Pt) | 269898 | KwaktaSevlaAwang |  | 1 | 0.2 | 0 | 4 | 4.8 | 3 | 150 | 55 | 0 | 0 | 0 | 8 | 63
12 | Kwakta (Pt) | 269898 | KwaktaThingelLeikai |  | 0.2 | 0.2 | 0 | 1 | 1.2 | 1 | 63 | 22 | 0 | 0 | 0 | 0 | 22
13 | Kha Thingungei | 269899 | ChandpurMamang |  | 0.2 | 1 | 1.5 | 1 | 2.5 | 2 | 125 | 57 | 0 | 0 | 0 | 8 | 65
14 | Kha Thingungei | 269899 | ChandpurMerabam
15 | Kha Thingungei | 269899 | ChingmeiManing |  | 0.9 | 0.9 | 0 | 1 | 3.2 | 3 | 150 | 51 | 0 | 0 | 0 | 8 | 59
16 | Kha Thingungei | 269899 | HougrampatManing |  | 0.6 | 0.9 | 0 | 0.4 | 1.6 | 2 | 50 | 24 | 0 | 0 | 0 | 0 | 24
17 | Kha Thingungei | 269899 | KhaThingungei
18 | Kha Thingungei | 269899 | MoirangkhunouMamangSabal |  | 0.1 | 0 | 0 | 2 | 5.2 | 1 | 100 | 48 | 0 | 0 | 0 | 0 | 48
19 | Kha Thingungei | 269899 | MoirangkhunouTongbram |  | 0.2 | 0 | 0 | 0.3 | 1.7 | 2 | 50 | 16 | 0 | 0 | 0 | 8 | 24
20 | Kha Thingungei | 269899 | ThangaLawaiMamang
21 | Saiton | 269900 | KumbiSanlanKonjin
22 | Saiton | 269900 | LaishoiHutDweller
23 | Saiton | 269900 | NgairongMamang
24 | Saiton | 269900 | Saiton
25 | Saiton | 269900 | SaitonManing
26 | Karang | 269901 | Karang |  | 0.2 | 0 | 0 | 2 | 2.2 | 1 | 100 | 49 | 0 | 0 | 0 | 0 | 49
27 | Karang | 269901 | KarangAwang |  | 0.2 | 0 | 0 | 2 | 4.3 | 2 | 88 | 50 | 0 | 0 | 0 | 0 | 50
28 | Ithing | 269902 | Ithing |  | 0.1 | 0.5 | 0.1 | 0 | 0 | 1 | 25 | 15 | 0 | 0 | 0 | 0 | 15
29 | Ithing | 269902 | IthingManing |  | 0.1 | 0.8 | 0.4 | 0 | 0 | 1 | 63 | 34 | 0 | 0 | 0 | 0 | 34
30 | Ithing | 269902 | KarangMayai
31 | Thanga | 269903 | Khoirom |  | 0.2 | 0 | 0 | 2 | 4 | 1 | 100 | 38 | 0 | 0 | 0 | 8 | 46
32 | Thanga | 269903 | Thanga
33 | Thanga | 269903 | ThangaChingkhaChairenlakpa |  | 1.5 | 0 | 0 | 2 | 4.8 | 2 | 126 | 106 | 0 | 0 | 0 | 0 | 106
34 | Thanga | 269903 | ThangaChinglak
35 | Thanga | 269903 | ThangaHaobijam
36 | Thanga | 269903 | ThangaHeisnam |  | 1 | 0 | 0 | 2 | 6 | 3 | 300 | 132 | 0 | 0 | 0 | 0 | 132
37 | Thanga | 269903 | ThangaIthingHeikol
38 | Thanga | 269903 | ThangaSalamMangkha |  | 1.3 | 0 | 0 | 0.2 | 1 | 1 | 25 | 10 | 0 | 0 | 0 | 0 | 10
39 | Thanga | 269903 | ThangaSamukon |  | 1.4 | 0 | 0 | 1 | 3.5 | 3 | 113 | 50 | 0 | 0 | 0 | 8 | 58
40 | Thanga | 269903 | ThangaTerapokpi
41 | Thanga | 269903 | ThangaThmnakhong
42 | Thanga | 269903 | ThangPlanetabi |  | 0.5 | 0 | 0 | 0.2 | 1 | 1 | 25 | 8 | 0 | 0 | 0 | 0 | 8
43 | Sagang | 269905 | Sagang |  | 2.5 | 0 | 0 | 1.5 | 4.5 | 2 | 125 | 500 | 0 | 0 | 0 | 0 | 500
44 | Sagang | 269905 | SagangManingMakha |  | 0.3 | 0 | 0 | 0.5 | 2 | 1 | 25 | 104 | 0 | 0 | 0 | 0 | 104
45 | Wangoo Keirap | 269906 | TerakhongAwangLeikai |  | 1.5 | 2.5 | 0 | 0 | 0 | 1 | 25 | 60 | 0 | 0 | 0 | 0 | 60
46 | Wangoo Keirap | 269906 | WangooKeirap |  | 1.5 | 2 | 0 | 0 | 0 | 1 | 63 | 60 | 0 | 0 | 0 | 0 | 60
47 | Wangoo Keirap | 269906 | WapokpiMayai |  | 2 | 2 | 0 | 0 | 0 | 1 | 63 | 40 | 0 | 0 | 0 | 0 | 40
48 | Torbung | 269907 | Torbung |  |  |  |  | 0 | 0 |  |  | 2 | 0 | 0 | 0 | 0 | 2
49 | Torbung | 269907 | TorbungManingMakha |  |  |  |  | 0 | 0 |  |  | 2 | 0 | 0 | 0 | 0 | 2
50 | Ithai | 269908 | Ithai |  | 2.1 | 3 | 1 | 0 | 0 | 1 | 100 | 300 | 0 | 0 | 0 | 0 | 300
51 | Ithai | 269908 | IthaiWangma |  | 0.5 | 1.5 | 0 | 0 | 0 | 1 | 25 | 40 | 0 | 0 | 0 | 0 | 40
52 | Wangoo Ahallup | 269909 | IthaikhunouManing |  | 0.3 | 2.5 | 0 | 0 | 0 | 1 | 25 | 30 | 0 | 0 | 0 | 0 | 30
53 | Wangoo Ahallup | 269909 | IthaiLaikhongMakha |  | 0.3 | 4 | 0 | 0 | 0 | 1 | 25 | 30 | 0 | 0 | 0 | 0 | 30
54 | Wangoo Ahallup | 269909 | KumbiMakhaLeikai |  | 0.3 | 0 | 0 | 0.5 | 1 | 1 | 25 | 40 | 0 | 0 | 0 | 0 | 40
55 | Wangoo Ahallup | 269909 | KumbiSetupurManing |  | 1.2 | 0 | 0 | 0.5 | 2 | 1 | 25 | 60 | 0 | 0 | 0 | 0 | 60
56 | Wangoo Ahallup | 269909 | WangooAhallup |  | 2 | 0 | 0 | 2 | 6 | 5 | 576 | 1600 | 0 | 0 | 0 | 0 | 1600
57 | Wangoo Ahallup | 269909 | WangooAhallupSabal |  | 1.5 | 3 | 0 | 0 | 0 | 1 | 63 | 60 | 0 | 0 | 0 | 0 | 60
58 | Chairen | 269910 | Chairen |  | 2 | 3 | 0 | 0 | 0 | 1 | 25 | 50 | 0 | 0 | 0 | 0 | 50
59 | Chairen | 269910 | HaotakUchanMakhong |  | 2 |  | 0 | 0 | 0 |  |  | 2 | 0 | 0 | 0 | 0 | 2
60 | Chairen | 269910 | KhoijumanTabi |  | 2 | 2 | 0 | 0 | 0 | 1 | 16 | 50 | 0 | 0 | 0 | 0 | 50
61 | Kasom Tampak | 269911 | KasomTampak
62 | Kasom Tampak | 269911 | KasomTampakAwang
63 | Tangjeng | 269912 | Khulakpat |  | 1.5 | 3.5 | 0 | 0 | 0 | 1 | 63 | 40 | 0 | 0 | 0 | 0 | 40
64 | Tangjeng | 269912 | Nungoo |  |  |  | 0 | 0 | 0 |  |  | 2 | 0 | 0 | 0 | 0 | 2
65 | Tangjeng | 269912 | SandangkhongMakha |  | 2 | 4 | 0 | 0 | 0 | 2 | 125 | 70 | 0 | 0 | 0 | 0 | 70
66 | Tangjeng | 269912 | Tangjeng |  | 3.5 | 2.5 | 0 | 0 | 0 | 1 | 63 | 60 | 0 | 0 | 0 | 0 | 60
67 | Champu Khangpok | 269913 | ChampuKhangpok |  |  |  | 0 | 0 | 0 |  |  | 2 | 0 | 0 | 0 | 0 | 2
68 | Wapokpi | 269914 | Wapokpi |  | 1.5 | 2.5 | 0 | 0 | 0 | 1 | 25 | 40 | 0 | 0 | 0 | 0 | 40
69 | Nongmaikhong | 269915 | Nongmaikhong |  | 2 | 5 | 0 | 0 | 0 | 2 | 126 | 100 | 0 | 0 | 0 | 0 | 100
70 | Nongmaikhong | 269915 | NongmaikhongMayai |  | 1 | 4 | 0 | 0 | 0 | 1 | 25 | 60 | 0 | 0 | 0 | 0 | 60
71 | Khordak | 269916 | Khangadon
72 | Khordak | 269916 | Khordak |  | 2 | 8 | 0 | 0 | 0 | 3 | 163 | 160 | 0 | 0 | 0 | 0 | 160
73 | Khordak | 269916 | Kumbi |  | 2 | 0 | 0 | 3 | 11 | 10 | 1476 | 2000 | 0 | 400 | 150 | 0 | 2550
74 | Khordak | 269916 | KumbiKangjeibung |  | 1.5 | 0 | 0 | 0.5 | 2 | 1 | 100 | 80 | 0 | 0 | 0 | 0 | 80

## OnGoingWorks
District | Bishnupur
Block | Moirang |  |  |  | BPL | [14 empty] | 11 KV Lines | [14 empty] | single phase LT overhead Lines | [27 empty] | three phase Overhead LT overhead Lines | [25 empty] | Distribution Transformers substations
Village Details |  |  |  |  | Sanctioned BPL HH |  |  |  |  | Executed BPL HH |  |  |  |  | BPL HH sanctioned but yet to be executed |  |  |  |  | Sanctioned 11 KV Lines (kms) |  |  |  |  | Executed 11 KV Lines (kms) |  |  |  |  | 11 KV lines (kms) sanctioned but yet to be executed |  |  |  |  | Sanctioned single phase LT overhead Lines (kms) | [8 empty] | Executed single phase LT Overhead linesLines (kms) | [8 empty] | Single phase LT OH line lines (kms) sanctioned but yet to be executed | [8 empty] | Sanctioned three phase Overhead LT overhead Lines (kms) | [8 empty] | Executed three phase LT Overhead linesLines (kms) | [8 empty] | Three phase LT OH line lines (kms) sanctioned but yet to be executed | [8 empty] | Sanctioned Distribution Transformers substations | [9 empty] | Executed Distribution Transformers Substations | [9 empty] | Distribution Transformers substation sanctioned but yet to be executed
SlNO | Village | Census Code | Habitation Name | Habitation Code | XI Plan | XI Plan Ph-2 | XII Plan | DDUGJY | Total | XI Plan | XI Plan Ph-2 | XII Plan | DDUGJY | Total | XI Plan | XI Plan Ph-2 | XII Plan | DDUGJY | Total | XI Plan | XI Plan Ph-2 | XII Plan | DDUGJY | Total | XI Plan | XI Plan Ph-2 | XII Plan | DDUGJY | Total | XI Plan | XI Plan Ph-2 | XII Plan | DDUGJY | Total | XI Plan |  | XI Plan Ph-2 |  | XII Plan |  | DDUGJY |  | Total | XI Plan |  | XI Plan Ph-2 |  | XII Plan |  | DDUGJY |  | Total | XI Plan |  | XI Plan Ph-2 |  | XII Plan |  | DDUGJY |  | Total | XI Plan |  | XI Plan Ph-2 |  | XII Plan |  | DDUGJY |  | Total | XI Plan |  | XI Plan Ph-2 |  | XII Plan |  | DDUGJY |  | Total | XI Plan |  | XI Plan Ph-2 |  | XII Plan |  | DDUGJY |  | Total | XI Plan |  | XI Plan Ph-2 |  | XII Plan |  | DDUGJY |  | Total |  | XI Plan |  | XI Plan Ph-2 |  | XII Plan |  | DDUGJY |  | Total |  | XI Plan |  | XI Plan Ph-2 |  | XII Plan |  | DDUGJY |  | Total
[35 empty] | Bare Conductor | Cable | Bare Conductor | Cable | Bare Conductor | Cable | Bare Conductor | Cable |  | Bare Conductor | Cable | Bare Conductor | Cable | Bare Conductor | Cable | Bare Conductor | Cable |  | Bare Conductor | Cable | Bare Conductor | Cable | Bare Conductor | Cable | Bare Conductor | Cable |  | Bare Conductor | Cable | Bare Conductor | Cable | Bare Conductor | Cable | Bare Conductor | Cable |  | Bare Conductor | Cable | Bare Conductor | Cable | Bare Conductor | Cable | Bare Conductor | Cable |  | Bare Conductor | Cable | Bare Conductor | Cable | Bare Conductor | Cable | Bare Conductor | Cable |  | No of DTR | KVA | No of DTR | KVA | No of DTR | KVA | No of DTR | KVA | No of DTR | KVA | No of DTR | KVA | No of DTR | KVA | No of DTR | KVA | No of DTR | KVA | No of DTR | KVA | No of DTR | KVA | No of DTR | KVA | No of DTR | KVA | No of DTR | KVA | No of DTR | KVA
1 | Thamnapokpi | 269896 | Thamnapokpi |  | 55 |  |  |  |  | 55 | [24 empty] | 0.5 | [8 empty] | 1 | [52 empty] | 0 | 0
2 | Thamnapokpi | 269896 | ThamnapokpiMamang |  | 25 |  |  |  |  | 25 | [9 empty] | 1 |  |  |  |  | 1 | [9 empty] | 1.2 | [8 empty] | 1 | [44 empty] | 1 | 16 | [6 empty] | 1 | 16 | 1 | 16
3 | Ngangkha Lawai | 269897 | NAME | [93 empty] | 0 | 0
4 | Ngangkha Lawai | 269897 | NgangkhaLawai |  | 82 |  |  |  |  | 82 | [24 empty] | 0.5 | [8 empty] | 0 | [52 empty] | 0 | 0
5 | Ngangkha Lawai | 269897 | NgangkhaLawaiAwang |  | 25 |  |  |  |  | 25 | [9 empty] | 1.2 |  |  |  |  | 0 | [9 empty] | 1 | [8 empty] | 0 | [17 empty] | 0 | [8 empty] | 1 | [17 empty] | 1 | 5 | [6 empty] | 1 | 5 | 1 | 5
6 | Kwakta (Pt) | 269898 | Kwakta |  | 407 |  |  |  |  | 407 | [24 empty] | 0.5 | [8 empty] | 0 | [52 empty] | 0 | 0
7 | Kwakta (Pt) | 269898 | KwaktaAwang | [93 empty] | 0 | 0
8 | Kwakta (Pt) | 269898 | KwaktaKha |  |  |  | 87 | [14 empty] | 0.97 | [17 empty] | 1.25 | [26 empty] | 2.46 | [25 empty] | 2 | 25 |  |  | 2 | 25
9 | Kwakta (Pt) | 269898 | KwaktaMoirangTurenbanMeitei |  |  |  | 25 | [14 empty] | 0.02 | [17 empty] | 0.8 | [26 empty] | 1.36 | [25 empty] | 1 | 63 |  |  | 1 | 63
10 | Kwakta (Pt) | 269898 | KwaktaSanthongMeiteileikai |  |  |  | 59 | [14 empty] | 1.64 | [17 empty] | 1.13 | [26 empty] | 1.89 | [25 empty] | 2 | 25 |  |  | 2 | 25
11 | Kwakta (Pt) | 269898 | KwaktaSevlaAwang |  |  |  | 73 | [14 empty] | 1.05 | [17 empty] | 1.2 | [26 empty] | 2.77 | [25 empty] | 2 | 25 |  |  | 2 | 25
12 | Kwakta (Pt) | 269898 | KwaktaThingelLeikai |  | 35 |  |  |  |  | 35 | [9 empty] | 0.8 |  |  |  |  | 0 | [9 empty] | 1 | [8 empty] | 1 | [44 empty] | 1 | 25 | [6 empty] | 1 | 25 | 1 | 25
13 | Kha Thingungei | 269899 | ChandpurMamang | [93 empty] | 0 | 0
14 | Kha Thingungei | 269899 | ChandpurMerabam | [93 empty] | 0 | 0
15 | Kha Thingungei | 269899 | ChingmeiManing |  |  |  | 41 | [14 empty] | 0.59 | [17 empty] | 0.9 | [26 empty] | 2.1 | [25 empty] | 2 | 25 |  |  | 2 | 25
16 | Kha Thingungei | 269899 | HougrampatManing |  |  |  | 30 | [14 empty] | 0.81 | [17 empty] | 1 | [26 empty] | 1.04 | [25 empty] | 2 | 25 |  |  | 2 | 25
17 | Kha Thingungei | 269899 | KhaThingungei |  | 450 |  |  |  |  | 451 | [24 empty] | 0.5 | [8 empty] | 1 | [52 empty] | 0 | 0
18 | Kha Thingungei | 269899 | MoirangkhunouMamangSabal | [93 empty] | 0 | 0
19 | Kha Thingungei | 269899 | MoirangkhunouTongbram |  | 30 |  |  |  |  | 30 | [9 empty] | 0.8 |  |  |  |  | 1 | [9 empty] | 1 | [8 empty] | 1 | [44 empty] | 1 | 25 | [6 empty] | 1 | 25 | 1 | 25
20 | Kha Thingungei | 269899 | ThangaLawaiMamang | [93 empty] | 0 | 0
21 | Saiton | 269900 | KumbiSanlanKonjin | [93 empty] | 0 | 0
22 | Saiton | 269900 | LaishoiHutDweller |  |  |  | 9 | [14 empty] | 0.73 | [17 empty] | 0.2 | [26 empty] | 0.54 | [25 empty] | 1 | 25 |  |  | 1 | 25
23 | Saiton | 269900 | NgairongMamang |  | 24 |  |  |  |  | 24 | [9 empty] | 1 |  |  |  |  | 1 | [9 empty] | 1 | [8 empty] | 1 | [44 empty] | 1 | 16 | [6 empty] | 1 | 16 | 1 | 16
24 | Saiton | 269900 | Saiton |  | 154 |  |  |  |  | 154 | [24 empty] | 0.5 | [8 empty] | 1 | [52 empty] | 0 | 0
25 | Saiton | 269900 | SaitonManing | [93 empty] | 0 | 0
26 | Karang | 269901 | Karang |  | 50 |  |  |  |  | 50 | [24 empty] | 0.5 | [61 empty] | 0 | 0
27 | Karang | 269901 | KarangAwang |  | 25 |  |  |  |  | 30 | [9 empty] | 0.5 |  |  |  |  | 1 | [9 empty] | 1.5 | [8 empty] | 1 | [44 empty] | 1 | 25 | [6 empty] | 1 | 25 | 1 | 25
28 | Ithing | 269902 | Ithing |  | 20 |  |  |  |  | 2 | [24 empty] | 0.5 | [8 empty] | 1 | [52 empty] | 0 | 0
29 | Ithing | 269902 | IthingManing |  | 23 |  |  |  |  | 23 | [9 empty] | 0.8 |  |  |  |  | 1 | [9 empty] | 1 | [8 empty] | 1 | [44 empty] | 1 | 25 | [6 empty] | 1 | 25 | 1 | 25
30 | Ithing | 269902 | KarangMayai | [93 empty] | 0 | 0
31 | Thanga | 269903 | Khoirom |  | 25 |  |  |  |  | 25 | [9 empty] | 1.2 |  |  |  |  | 1 | [9 empty] | 0.8 | [8 empty] | 1 | [44 empty] | 1 | 25 | [6 empty] | 1 | 25 | 1 | 25
32 | Thanga | 269903 | Thanga |  | 533 |  |  |  |  | 533 | [24 empty] | 0.5 | [8 empty] | 1 | [52 empty] | 0 | 0
33 | Thanga | 269903 | ThangaChingkhaChairenlakpa | [93 empty] | 0 | 0
34 | Thanga | 269903 | ThangaChinglak | [93 empty] | 0 | 0
35 | Thanga | 269903 | ThangaHaobijam | [93 empty] | 0 | 0
36 | Thanga | 269903 | ThangaHeisnam |  |  |  | 56 | [14 empty] | 3.1 | [17 empty] | 1.1 | [26 empty] | 2.28 | [25 empty] | 2 | 25 |  |  | 2 | 25
37 | Thanga | 269903 | ThangaIthingHeikol | [93 empty] | 0 | 0
38 | Thanga | 269903 | ThangaSalamMangkha | [93 empty] | 0 | 0
39 | Thanga | 269903 | ThangaSamukon |  |  |  | 31 | [14 empty] | 1.74 | [17 empty] | 1.2 | [26 empty] | 2.69 | [25 empty] | 2 | 25 |  |  | 2 | 25
40 | Thanga | 269903 | ThangaTerapokpi | [93 empty] | 0 | 0
41 | Thanga | 269903 | ThangaThmnakhong | [93 empty] | 0 | 0
42 | Thanga | 269903 | ThangPlanetabi |  |  |  | 5 | [14 empty] | 2.73 | [17 empty] | 1.45 | [26 empty] | 2.19 | [25 empty] | 2 | 25 |  |  | 2 | 25
43 | Sagang | 269905 | Sagang |  | 308 |  |  |  |  | 308 | [24 empty] | 0.5 | [8 empty] | 0 | [52 empty] | 0 | 0
44 | Sagang | 269905 | SagangManingMakha |  | 28 |  |  |  |  | 28 | [9 empty] | 1 |  |  |  |  | 1 | [9 empty] | 0.8 | [8 empty] | 1 | [44 empty] | 1 | 25 | [6 empty] | 1 | 25 | 1 | 25
45 | Wangoo Keirap | 269906 | TerakhongAwangLeikai |  | 24 |  |  |  |  | 24 | [9 empty] | 1 |  |  |  |  | 1 | [9 empty] | 0.8 | [8 empty] | 1 | [44 empty] | 1 | 16 | [6 empty] | 1 | 16 | 1 | 16
46 | Wangoo Keirap | 269906 | WangooKeirap |  | 45 |  |  |  |  | 45 | [24 empty] | 0.5 | [8 empty] | 1 | [52 empty] | 0 | 0
47 | Wangoo Keirap | 269906 | WapokpiMayai |  | 28 |  |  |  |  | 24 | [9 empty] | 1 |  |  |  |  | 1 | [9 empty] | 1.5 | [8 empty] | 1 | [44 empty] | 1 | 10 | [6 empty] | 1 | 10 | 1 | 10
48 | Torbung | 269907 | Torbung |  | 169 |  |  |  |  | 139 | [24 empty] | 0.5 | [8 empty] | 1 | [52 empty] | 0 | 0
49 | Torbung | 269907 | TorbungManingMakha |  | 37 |  |  |  |  | 37 | [9 empty] | 1 |  |  |  |  | 1 | [9 empty] | 1.2 | [8 empty] | 1 | [44 empty] | 1 | 16 | [6 empty] | 1 | 16 | 1 | 16
50 | Ithai | 269908 | Ithai |  | 73 |  |  |  |  | 73 | [24 empty] | 0.5 | [8 empty] | 1 | [52 empty] | 0 | 0
51 | Ithai | 269908 | IthaiWangma |  | 26 |  |  |  |  | 26 | [9 empty] | 1 |  |  |  |  | 1 | [9 empty] | 0.8 | [8 empty] | 1 | [44 empty] | 1 | 25 | [6 empty] | 1 | 25 | 1 | 25
52 | Wangoo Ahallup | 269909 | IthaikhunouManing |  |  |  | 24 | [14 empty] | 0.13 | [17 empty] | 1.4 | [26 empty] | 1.44 | [25 empty] | 2 | 25 |  |  | 2 | 25
53 | Wangoo Ahallup | 269909 | IthaiLaikhongMakha |  |  |  | 10 | [14 empty] | 0.33 | [17 empty] | 1.06 | [26 empty] | 0.64 | [25 empty] | 1 | 25 |  |  | 1 | 25
54 | Wangoo Ahallup | 269909 | KumbiMakhaLeikai |  |  |  | 20 | [14 empty] | 1.06 | [17 empty] | 0.45 | [26 empty] | 1.7 | [25 empty] | 1 | 25 |  |  | 1 | 25
55 | Wangoo Ahallup | 269909 | KumbiSetupurManing |  |  |  | 49 | [14 empty] | 0.81 | [17 empty] | 0.9 | [26 empty] | 0.92 | [25 empty] | 2 | 25 |  |  | 2 | 25
56 | Wangoo Ahallup | 269909 | WangooAhallup |  | 516 |  |  |  |  | 516 | [24 empty] | 0.5 | [8 empty] | 1 | [52 empty] | 0 | 0
57 | Wangoo Ahallup | 269909 | WangooAhallupSabal |  | 45 |  |  |  |  | 45 | [9 empty] | 1 |  |  |  |  | 1 | [9 empty] | 0.8 | [8 empty] | 1 | [44 empty] | 1 | 25 | [6 empty] | 1 | 25 | 1 | 25
58 | Chairen | 269910 | Chairen |  | 6 |  |  |  |  | 6 | [24 empty] | 0.5 | [61 empty] | 0 | 0
59 | Chairen | 269910 | HaotakUchanMakhong |  |  |  | 15 | [14 empty] | 1.7 | [17 empty] | 0.45 | [26 empty] | 0.96 | [25 empty] | 2 | 25 |  |  | 2 | 25
60 | Chairen | 269910 | KhoijumanTabi |  | 33 |  |  |  |  | 33 | [9 empty] | 1 |  |  |  |  | 1 | [9 empty] | 1.2 | [8 empty] | 1 | [44 empty] | 1 | 16 | [6 empty] | 1 | 16 | 1 | 16
61 | Kasom Tampak | 269911 | KasomTampak |  | 14 |  |  |  |  | 14 | [9 empty] | 2 |  |  |  |  | 2 | [9 empty] | 1 | [8 empty] | 1 | [44 empty] | 1 | 16 | [6 empty] | 1 | 16 | 1 | 16
62 | Kasom Tampak | 269911 | KasomTampakAwang |  | 13 |  |  |  |  | 13 | [9 empty] | 1.8 |  |  |  |  | 2 | [9 empty] | 1.5 | [8 empty] | 2 | [44 empty] | 1 | 16 | [6 empty] | 1 | 16 | 1 | 16
63 | Tangjeng | 269912 | Khulakpat |  |  |  | 29 | [14 empty] | 0.96 | [17 empty] | 0.95 | [26 empty] | 0.44 | [25 empty] | 1 | 25 |  |  | 1 | 25
64 | Tangjeng | 269912 | Nungoo |  | 33 |  |  |  |  | 33 | [9 empty] | 1.5 |  |  |  |  | 1 | [9 empty] | 0.9 | [8 empty] | 1 | [44 empty] | 1 | 16 | [6 empty] | 1 | 16 | 1 | 16
65 | Tangjeng | 269912 | SandangkhongMakha |  |  |  | 11 | [14 empty] | 0.79 | [17 empty] | 0.94 | [26 empty] | 0.92 | [25 empty] | 1 | 25 |  |  | 1 | 25
66 | Tangjeng | 269912 | Tangjeng |  | 72 |  |  |  |  | 72 | [9 empty] | 0 |  |  |  |  | 6 | [9 empty] | 0.5 | [8 empty] | 1 | [44 empty] | 0 | [7 empty] | 0 | 0 | 2 | 25
67 | Champu Khangpok | 269913 | ChampuKhangpok | [93 empty] | 0 | 0
68 | Wapokpi | 269914 | Wapokpi |  | 39 |  |  |  |  | 39 | [9 empty] | 2.5 |  |  |  |  | 1 | [9 empty] | 3 | [8 empty] | 3 | [44 empty] | 2 | 41 | [6 empty] | 2 | 41 | 2 | 16/25
69 | Nongmaikhong | 269915 | Nongmaikhong |  | 57 |  |  |  |  | 57 | [9 empty] | 4.5 |  |  |  |  | 3 | [9 empty] | 4.5 | [8 empty] | 3 | [17 empty] | 0 | [8 empty] | 2 | [17 empty] | 3 | 60 | [6 empty] | 3 | 60 | 2 | 1x10 kva,1x25kva
70 | Nongmaikhong | 269915 | NongmaikhongMayai |  |  |  | 20 | [14 empty] | 1.15 | [17 empty] | 0.95 | [26 empty] | 1.15 | [25 empty] | 2 | 25 |  |  | 2 | 25
71 | Khordak | 269916 | Khangadon |  | 29 |  |  |  |  | 29 | [9 empty] | 1.1 |  |  |  |  | 1 | [9 empty] | 1.5 | [8 empty] | 2 | [44 empty] | 1 | 16 | [6 empty] | 1 | 16 | 1 | 16
72 | Khordak | 269916 | Khordak |  | 47 |  |  |  |  | 47 | [9 empty] | 1.8 |  |  |  |  | 2 | [9 empty] | 3 | [8 empty] | 3 | [44 empty] | 2 | 25 | [6 empty] | 2 | 25 | 2 | 25
73 | Khordak | 269916 | Kumbi |  | 11 |  |  |  |  | 11 | [24 empty] | 0.5 | [8 empty] | 1 | [52 empty] | 0 | 0
74 | Khordak | 269916 | KumbiKangjeibung |  | 69 |  |  |  |  | 69 | [9 empty] | 1.5 |  |  |  |  | 2 | [9 empty] | 0.8 | [8 empty] | 1 | [44 empty] | 1 | 16 | [6 empty] | 1 | 16 | 1 | 16

## Proposed
District | Bishnupur |  |  |  | Proposed New HH connection |  |  |  | Proposed New 11 KV | [5 empty] | Proposed New LT line (AB Cable) |  |  |  | Proposed Distribution Transformer Substations
Block | Moirang
Village Details
SlNO | Village | Census Code | Habitation Name | Habitation Code | BPL | Household other than BPL (Eligible for free service connection as per SECC data 2011) | Household other than BPL (Not eligible for free service connection as per SECC data 2011 as per clause 2.3 o f Saubhagya guidelines) | Total | ACSR Squirrel (20sqmm) |  | ACSR Weasel (30sqmm) |  | ACSR Rabbit (50 sqmm) |  | Type | Length(Kms) | Type | Length(Kms) | KVA rating | Nos of DTRs | KVA rating | Nos of DTRs
[9 empty] | Type | Length | Type | Length | Type | Length | [8 empty] | Overlap | overlap = 16
1 | Thamnapokpi | 269896 | Thamnapokpi |  | 1 | 1 | 0 | 2 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X26 |  | 3X35+1X26 |  | 6 KVA (1 Ph) |  | 17 KVA (3 Ph)
2 | Thamnapokpi | 269896 | ThamnapokpiMamang |  | 1 | 1 | 0 | 2 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X27 |  | 3X35+1X27 |  | 7 KVA (1 Ph) |  | 18 KVA (3 Ph)
3 | Ngangkha Lawai | 269897 | NAME | [5 empty] | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X28 |  | 3X35+1X28 |  | 8 KVA (1 Ph) |  | 19 KVA (3 Ph)
4 | Ngangkha Lawai | 269897 | NgangkhaLawai |  | 2 | 1 | 0 | 3 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X29 |  | 3X35+1X29 |  | 9 KVA (1 Ph) |  | 20 KVA (3 Ph)
5 | Ngangkha Lawai | 269897 | NgangkhaLawaiAwang |  | 2 | 1 | 0 | 3 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X30 |  | 3X35+1X30 |  | 10 KVA (1 Ph) |  | 21 KVA (3 Ph)
6 | Kwakta (Pt) | 269898 | Kwakta |  | 13 | 0 | 0 | 13 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X31 |  | 3X35+1X31 |  | 11 KVA (1 Ph) |  | 22 KVA (3 Ph)
7 | Kwakta (Pt) | 269898 | KwaktaAwang |  | 5 | 0 | 0 | 5 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X32 |  | 3X35+1X32 |  | 12 KVA (1 Ph) |  | 23 KVA (3 Ph)
8 | Kwakta (Pt) | 269898 | KwaktaKha |  | 5 | 0 | 0 | 5 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X33 |  | 3X35+1X33 |  | 13 KVA (1 Ph) |  | 24 KVA (3 Ph)
9 | Kwakta (Pt) | 269898 | KwaktaMoirangTurenbanMeitei |  | 0 | 1 | 0 | 1 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X34 |  | 3X35+1X34 |  | 14 KVA (1 Ph) |  | 25 KVA (3 Ph)
10 | Kwakta (Pt) | 269898 | KwaktaSanthongMeiteileikai |  | 5 | 0 | 0 | 5 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X35 |  | 3X35+1X35 |  | 15 KVA (1 Ph) |  | 26 KVA (3 Ph)
11 | Kwakta (Pt) | 269898 | KwaktaSevlaAwang |  | 4 | 0 | 0 | 4 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X36 |  | 3X35+1X36 |  | 16 KVA (1 Ph) |  | 27 KVA (3 Ph)
12 | Kwakta (Pt) | 269898 | KwaktaThingelLeikai |  | 5 | 0 | 0 | 5 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X37 |  | 3X35+1X37 |  | 17 KVA (1 Ph) |  | 28 KVA (3 Ph)
13 | Kha Thingungei | 269899 | ChandpurMamang |  | 1 | 0 | 0 | 1 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X38 |  | 3X35+1X38 |  | 18 KVA (1 Ph) |  | 29 KVA (3 Ph)
14 | Kha Thingungei | 269899 | ChandpurMerabam | [5 empty] | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X39 |  | 3X35+1X39 |  | 19 KVA (1 Ph) |  | 30 KVA (3 Ph)
15 | Kha Thingungei | 269899 | ChingmeiManing |  | 2 |  |  | 2 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X40 |  | 3X35+1X40 |  | 20 KVA (1 Ph) |  | 31 KVA (3 Ph)
16 | Kha Thingungei | 269899 | HougrampatManing |  | 0 | 1 |  | 1 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X41 |  | 3X35+1X41 |  | 21 KVA (1 Ph) |  | 32 KVA (3 Ph)
17 | Kha Thingungei | 269899 | KhaThingungei | [5 empty] | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X42 |  | 3X35+1X42 |  | 22 KVA (1 Ph) |  | 33 KVA (3 Ph)
18 | Kha Thingungei | 269899 | MoirangkhunouMamangSabal |  | 2 |  |  | 2 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X43 |  | 3X35+1X43 |  | 23 KVA (1 Ph) |  | 34 KVA (3 Ph)
19 | Kha Thingungei | 269899 | MoirangkhunouTongbram |  | 0 | 1 |  | 1 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X44 |  | 3X35+1X44 |  | 24 KVA (1 Ph) |  | 35 KVA (3 Ph)
20 | Kha Thingungei | 269899 | ThangaLawaiMamang | [5 empty] | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X45 |  | 3X35+1X45 |  | 25 KVA (1 Ph) |  | 36 KVA (3 Ph)
21 | Saiton | 269900 | KumbiSanlanKonjin | [5 empty] | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X46 |  | 3X35+1X46 |  | 26 KVA (1 Ph) |  | 37 KVA (3 Ph)
22 | Saiton | 269900 | LaishoiHutDweller | [5 empty] | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X47 |  | 3X35+1X47 |  | 27 KVA (1 Ph) |  | 38 KVA (3 Ph)
23 | Saiton | 269900 | NgairongMamang | [5 empty] | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X48 |  | 3X35+1X48 |  | 28 KVA (1 Ph) |  | 39 KVA (3 Ph)
24 | Saiton | 269900 | Saiton | [5 empty] | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X49 |  | 3X35+1X49 |  | 29 KVA (1 Ph) |  | 40 KVA (3 Ph)
25 | Saiton | 269900 | SaitonManing | [5 empty] | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X50 |  | 3X35+1X50 |  | 30 KVA (1 Ph) |  | 41 KVA (3 Ph)
26 | Karang | 269901 | Karang |  | 0 | 1 | 0 | 1 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X51 |  | 3X35+1X51 |  | 31 KVA (1 Ph) |  | 42 KVA (3 Ph)
27 | Karang | 269901 | KarangAwang |  | 0 | 1 | 0 | 1 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X52 |  | 3X35+1X52 |  | 32 KVA (1 Ph) |  | 43 KVA (3 Ph)
28 | Ithing | 269902 | Ithing |  | 2 | 0 | 0 | 2 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X53 |  | 3X35+1X53 |  | 33 KVA (1 Ph) |  | 44 KVA (3 Ph)
29 | Ithing | 269902 | IthingManing |  | 0 | 1 | 0 | 1 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X54 |  | 3X35+1X54 |  | 34 KVA (1 Ph) |  | 45 KVA (3 Ph)
30 | Ithing | 269902 | KarangMayai | [5 empty] | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X55 |  | 3X35+1X55 |  | 35 KVA (1 Ph) |  | 46 KVA (3 Ph)
31 | Thanga | 269903 | Khoirom |  | 0 | 1 | 0 | 1 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X56 |  | 3X35+1X56 |  | 36 KVA (1 Ph) |  | 47 KVA (3 Ph)
32 | Thanga | 269903 | Thanga |  | 2 | 0 | 0 | 2 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X57 |  | 3X35+1X57 |  | 37 KVA (1 Ph) |  | 48 KVA (3 Ph)
33 | Thanga | 269903 | ThangaChingkhaChairenlakpa |  | 0 | 1 | 0 | 1 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X58 |  | 3X35+1X58 |  | 38 KVA (1 Ph) |  | 49 KVA (3 Ph)
34 | Thanga | 269903 | ThangaChinglak | [5 empty] | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X59 |  | 3X35+1X59 |  | 39 KVA (1 Ph) |  | 50 KVA (3 Ph)
35 | Thanga | 269903 | ThangaHaobijam | [5 empty] | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X60 |  | 3X35+1X60 |  | 40 KVA (1 Ph) |  | 51 KVA (3 Ph)
36 | Thanga | 269903 | ThangaHeisnam |  | 0 | 1 | 0 | 1 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X61 |  | 3X35+1X61 |  | 41 KVA (1 Ph) |  | 52 KVA (3 Ph)
37 | Thanga | 269903 | ThangaIthingHeikol | [5 empty] | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X62 |  | 3X35+1X62 |  | 42 KVA (1 Ph) |  | 53 KVA (3 Ph)
38 | Thanga | 269903 | ThangaSalamMangkha |  | 0 | 1 | 0 | 1 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X63 |  | 3X35+1X63 |  | 43 KVA (1 Ph) |  | 54 KVA (3 Ph)
39 | Thanga | 269903 | ThangaSamukon |  | 1 | 0 | 0 | 1 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X64 |  | 3X35+1X64 |  | 44 KVA (1 Ph) |  | 55 KVA (3 Ph)
40 | Thanga | 269903 | ThangaTerapokpi | [5 empty] | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X65 |  | 3X35+1X65 |  | 45 KVA (1 Ph) |  | 56 KVA (3 Ph)
41 | Thanga | 269903 | ThangaThmnakhong | [5 empty] | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X66 |  | 3X35+1X66 |  | 46 KVA (1 Ph) |  | 57 KVA (3 Ph)
42 | Thanga | 269903 | ThangPlanetabi |  | 0 | 0 | 0 | 0 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X67 |  | 3X35+1X67 |  | 47 KVA (1 Ph) |  | 58 KVA (3 Ph)
43 | Sagang | 269905 | Sagang |  | 6 |  |  | 6 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 0.3 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 0.2 | 3X50+1X35 | 0.3 | 63 KVA (3 Ph) | 1 | None
44 | Sagang | 269905 | SagangManingMakha |  | 1 |  |  | 1 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 0.4 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 0.2 | 3X50+1X35 | 0.3 | 63 KVA (3 Ph) | 1 | None |  | X
45 | Wangoo Keirap | 269906 | TerakhongAwangLeikai |  | 5 |  |  | 5 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 1 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 1 | 3X50+1X35 | 2 | 63 KVA (3 Ph) | 1 | None |  | X
46 | Wangoo Keirap | 269906 | WangooKeirap |  | 4 |  |  | 4 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 1 | 3X50+1X35 | 2.5 | None |  | None
47 | Wangoo Keirap | 269906 | WapokpiMayai |  | 7 |  |  | 7 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 1 | 3X50+1X35 | 2.5 | None |  | None
48 | Torbung | 269907 | Torbung |  | 0 |  |  | 0 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X25 |  | 3X50+1X35 |  | 63 KVA (3 Ph) | 1 | None
49 | Torbung | 269907 | TorbungManingMakha |  | 0 |  |  | 0 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X25 |  | 3X50+1X35 |  | 63 KVA (3 Ph) | 1 | None |  | X
50 | Ithai | 269908 | Ithai |  | 8 |  |  | 8 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 1 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 2 | 3X50+1X35 | 3.5 | 63 KVA (3 Ph) | 1 | None
51 | Ithai | 269908 | IthaiWangma |  | 2 |  |  | 2 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 1.5 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 1 | 3X50+1X35 | 2 | 63 KVA (3 Ph) | 1 | None |  | X
52 | Wangoo Ahallup | 269909 | IthaikhunouManing |  | 4 |  |  | 4 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 1.5 | 3X50+1X35 | 3 | None |  | None
53 | Wangoo Ahallup | 269909 | IthaiLaikhongMakha |  | 2 |  |  | 2 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 1.5 | 3X50+1X35 | 3 | None |  | None
54 | Wangoo Ahallup | 269909 | KumbiMakhaLeikai |  | 3 |  |  | 3 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 1.5 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 0.5 | 3X50+1X35 | 1 | 63 KVA (3 Ph) | 1 | None |  | X
55 | Wangoo Ahallup | 269909 | KumbiSetupurManing |  | 10 |  |  | 10 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 2 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 0.5 | 3X50+1X35 | 1 | 63 KVA (3 Ph) | 1 | None |  | X
56 | Wangoo Ahallup | 269909 | WangooAhallup |  | 15 |  |  | 15 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 1 | 3X50+1X35 | 4 | 63 KVA (3 Ph) | 1 | None
57 | Wangoo Ahallup | 269909 | WangooAhallupSabal |  | 5 |  |  | 5 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 1.5 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 1 | 3X50+1X35 | 4 | 63 KVA (3 Ph) | 1 | None |  | X
58 | Chairen | 269910 | Chairen |  | 10 |  |  | 10 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 1 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 1 | 3X50+1X35 | 3 | 63 KVA (3 Ph) | 1 | None
59 | Chairen | 269910 | HaotakUchanMakhong |  | 0 |  |  | 0 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 1.5 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 0.2 | 3X50+1X35 | 0.2 | 63 KVA (3 Ph) | 1 | None |  | X
60 | Chairen | 269910 | KhoijumanTabi |  | 8 |  |  | 8 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 1 | 3X50+1X35 | 3 | 63 KVA (3 Ph) | 1 | None |  | X
61 | Kasom Tampak | 269911 | KasomTampak |  | 0 |  |  | 0 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST | 0 | 1X16+1X25 |  | 3X50+1X35 |  | 63 KVA (3 Ph) | 1 | None |  | X
62 | Kasom Tampak | 269911 | KasomTampakAwang |  | 0 |  |  | 0 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST | 0 | 1X16+1X25 |  | 3X50+1X35 |  | 63 KVA (3 Ph) | 1 | None |  | X
63 | Tangjeng | 269912 | Khulakpat |  | 10 |  |  | 10 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 1.8 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 1 | 3X50+1X35 | 4 | 63 KVA (3 Ph) | 1 | None |  | X
64 | Tangjeng | 269912 | Nungoo |  | 0 |  |  | 0 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) |  | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST |  | 1X16+1X25 |  | 3X50+1X35 |  | 63 KVA (3 Ph) | 1 | None |  | X
65 | Tangjeng | 269912 | SandangkhongMakha |  | 2 |  |  | 2 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 2 | 3X50+1X35 | 4 | None |  | None
66 | Tangjeng | 269912 | Tangjeng |  | 6 |  |  | 6 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 1 | 3X50+1X35 | 2.5 | None |  | None
67 | Champu Khangpok | 269913 | ChampuKhangpok |  | 0 |  |  | 0 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Rabbit Conductor on RS JOIST | 0 | 1X16+1X25 |  | 3X50+1X35 |  | None |  | None
68 | Wapokpi | 269914 | Wapokpi |  | 15 |  |  | 15 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 1 | 3X50+1X35 | 3 | None |  | None
69 | Nongmaikhong | 269915 | Nongmaikhong |  | 8 |  |  | 8 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 3 | 3X50+1X35 | 6 | None |  | None
70 | Nongmaikhong | 269915 | NongmaikhongMayai |  | 6 |  |  | 6 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 1.5 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 1 | 3X50+1X35 | 3 | 63 KVA (3 Ph) | 1 | None |  | X
71 | Khordak | 269916 | Khangadon |  | 0 |  |  | 0 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) |  | Rabbit Conductor on RS JOIST | 0 | 1X16+1X25 |  | 3X50+1X35 |  | 63 KVA (3 Ph) |  | None
72 | Khordak | 269916 | Khordak |  | 10 |  |  | 10 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 1.5 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 1 | 3X50+1X35 | 5 | 63 KVA (3 Ph) | 1 | None |  | X
73 | Khordak | 269916 | Kumbi |  | 20 |  |  | 20 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 1 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 0.5 | 3X50+1X35 | 0.5 | 63 KVA (3 Ph) | 1 | None
74 | Khordak | 269916 | KumbiKangjeibung |  | 12 |  |  | 12 | Squirrel Conductor on Cement Poles (PCC/PSC/RCC) | 0 | Weasel Conductor on Cement Poles (PCC/PSC/RCC) | 1 | Rabbit Conductor on RS JOIST | 0 | 1X35+1X25 | 1 | 3X50+1X35 | 2 | 63 KVA (3 Ph) | 1 | None |  | X